UltraSonic ATG (type: B-ULM)

The B-ULM (ultrasonic ATG) which has a simple command to request data

The baud rate is set to 19200,8,N,1

This is the command sent to speak to ATG#1;

31 01 06 6C

If we were addressing another of this type then the second byte would be different and the verification sum would also change.

The ATG  that is polled will respond with device Adr, Temp, Fuel Height, Liquid Type etc

3E 01 06 16 FF FF A2 00 6C

Now this device can be configured for Diesel, Petrol and water, so its important to report the mode it is configured for.

The Verification sum is an 8Bit CRC.

Caution: the height can sometimes jump or fall. It would be important to average out the reads that are similar and ignore the radically out read.

(the full doc is attached)

In our experience with it there are two Filtering parameters required;

1. DifferenceMm

2. ValidCount

How it Filters

If the difference between the first reading and the next is greater than the DifferenceMm , then the reads are rejected, if not it will be averaged until the "ValidCount" number of reads have occurred.

The Master controller will get the ATG level regularly but on a low priority. Once the Pumps are completed with dispensing, the Priority can increase.

If there is heartbeat type report required and there is no stable read since the last heartbeat it will report current read at that moment but will Flag it as an Unstable read. After every transaction, it important to send a Stable Read (especially with all the Nozzles on that Tank being in the non-dispensing status)

You can simulate this device using MPC.

Let know if you have any questions.